%N uvflag

%D Flags or unflags uv data

%P bpw

%: calibration, uv analysis

%B

UVFLAG is used to change flags corresponding to visibility data.

Using the keywords select, line and edge one selects a portion of a

uv-data file. For all selected correlations the flags are then set to

the value specified with the keyword flagval. If flagval equals

'flag', the uv data are flagged as bad; for flagval equal to 'unflag',

the uv data are flagged as good.

The user can control the amount of output produced using the options

keyword. Only records that fulfill all selection criteria as

specified by select, line and edge are shown and counted, not the

complete datafile.

Because the physical writing of the flags is done using a buffering

approach, the flags are only actually changed in the datafile if

one lets uvflag finish normally. I.e., if the 'q' option is used to

stop printing, the flags may or may not have been changed.

UVFLAG can also be used to inspect the uv-data. If option 'noapply'

is used, everything works as it would do normally, except that the

flags are not actually changed in the datafile. This is particularly

useful in combination with option 'full'.

%A vis

This is the normal keyword for an input visibility dataset. There

is generally no default input name. Some tasks allow multiple input

datasets (with wildcards supported, such as an asterisk). Other tasks

can handle only a single dataset at a time.

Multiple input datasets are allowed.

%A select

This keyword selects the subset of the visibility data to be

processed. There are a number of subcommands, which may be

abbreviated. Each may be prefixed with a plus or minus sign to

indicate using or discarding the selected data. Many subcommands

can be given (separate them by commas).

Examples:

'select=time(03OCT30:05:42:08,03OCT30:05:43:09),ant(7)(2)'

'select=-auto,-ant(7,8)'

'select=-ant(7,8),vis(1,15),vis(31,45),vis(301,1000)'

'select=-ant(7,8),-ant(1)(4,6),-ant(2)(4,5,6),-ant(3)(4,5),-ant(4)(5,6),-ant(5)(6)'

See also documentation for subroutine selprobe(), which may very well differ

slightly from this document.

Subcommands include:

time(t1,t2)

Select data between times t1 and t2 (UT). Times are in the format:

yymmmdd.fff

or

yymmmdd:hh:mm:ss.s

Various abbreviations are possible. If no date part is given, then

the time matchs all data (regardless of its date) for the given

time of day. e.g. time(03OCT30:05:41:08,03OCT30:05:43:09)

antennae(a1,a2,...)(b1,b2...)

Select all baselines pairs formed between first and second list of

antennas. The second list is optional and defaults to all antennas.

uvrange(uvmin,uvmax)

Select visibilities with uv radius between uvmin and uvmax (in kilo

wavelenghts). If only one value is given, uvmin is taken as zero.

uvnrange(uvmin,uvmax)

Select visibilities with uv radius between uvmin and uvmax (in

nanoseconds). If only one value is given, uvmin is taken as zero.

visibility(n1,n2)

Select visibilities numbered n1 to n2 inclusive.

increment(inc)

Select every inc'th visibility.

ra(r1,r2)

Select visibilities whose RA is in the range r1 to r2. RAs are given

in the format

hh:mm:ss

or

hh.hhh

Various abbreviations are possible.

dec(d1,d2)

Select visibilites whose DEC is in the range d1 to d2. Declinations

are given in the format

dd:mm:ss

or

dd.ddd

Various abbreviations are possible.

ha(h1,h2)

Selects on hour angle (values in decimal hours or hh:mm:ss)

lst(lst1,lst2)

Selects on LST (values in decimal hours or hh:mm:ss)

elevation(el1,el2)

Selects on elevation (values in degrees)

dra(p1,p2)

Select visibilities for which the RA of the pointing center is offset

from the main pointing center by between p1 and p2 arcseconds.

ddec(p1,p2)

Select visibilities for which the DEC of the pointing center is offset

from the main pointing center by between p1 and p2 arcseconds.

dazim(p1,p2)

Select visibilities for which the DAZIM offset is between p1 and p2 arcseconds.

delev(p1,p2)

Select visibilities for which the DELEV offset is between p1 and p2 arcseconds.

pointing(p1,p2)

Select visibilities with the rms pointing error in the range p1 to p2

arcseconds. If only one number is given, p1 is taken as 0.

polarization(p1,p2,p3,...)

Select visibilities on the basis of their polarization/Stokes parameter.

p1,p2,p3,... can be selected from "i,q,u,v,xx,yy,xy,yx,rr,ll,rl,lr"

Conversion between polarizations Stokes parameters (e.g. convert

linears to Stokes)  is not performed by this mechanism (see keyword stokes).

source(SRCNAM1,SRCNAM2,...)

Select correlations from the particular source. Several sources

can be given. An asterisk in the source name is treated as a

wildcard. Note that the sourcename match is done IGNORING CASE.

purpose(TYPE)

Select based on the intent/purpose of the observation. Introduced in

CARMA, where the letters B (bandpass), F (fluxcal), G (gaincal),

P (polarization), R (radio pointing), S (science) and O (other)

are used.

Multiple letters from this set can be chooses. No wildcards allowed.

seeing(r1,r2)

Select on seeing monitor rms path length (in microns). The UV variable used

is smonrms for ATCA, rmspath for CARMA

frequency(f1,f2)

Select correlations, where the sky frequency of the first correlation

is in the range f1 to f2 (in GHz). If only a single frequency is

given, then correlations are selected if the first correlation

is within 1% of the given frequency.  Note this selects the whole

record.  This may include several spectral-windows whose frequency

is quite different from the first correlation in the first window.

amplitude(amplo,amphi)

Select any correlation, where the amplitude is between "amplo" and

"amphi". If only one value is given, then "amphi" is assumed to be

infinite.

shadow(d)

Selects data that would be shadowed by an antenna of diameter "d" meters.

If "d" is zero, then the actual diameter of the antennas (if known) is used.

If some data is shadowed, it is advisable to use an antenna diameter value

greater than the physical antenna size (e.g. 20% larger).

See also the task CSFLAG for more finegrained approach for heterogeneous

arrays and dealing with sub arrays.

bin(b1,b2)

Select visibilities which have pulsar bin numbers in the range

b1 to b2 inclusive. If b2 is omitted, just pulsar bin b1 is

selected.

on(n)

This is used with single dish observations, anbd selects based

whether the "on" variable in the data is on (1) or off (0).

auto

This is used with files that contain a mix of autocorrelations and

crosscorrelations. This selects just the autocorrelation data.

window(w1,w2,...)

Select by spectral window (IF band in AIPS terminology). See

the help on window for more information.

or

The list of subcommands before and after the 'or' are "ored"

together.

and

Default ???

%A line

The ``line'' parameter determines the channels that are to be processed

from a uv data-set. The parameter value consists of a string

followed by up to four numbers. Defaults are used for any missing

trailing portion of the parameter value.

A uv data-set can have correlations from either (or both) a spectral

or a wideband (continuum) correlator. Both the spectral and wideband

correlators produce multiple correlations (channels). The string

part of the line parameter is used to select the spectral or wideband

channels. It may be one of:

"channel"   Spectral channels.

"wide"      Wideband (continuum) channels.

"velocity"  Spectral channels, resampled at equal increments in

velocity (using the radio definition). The resampling

involves a weighted average of the spectral channels.

This is useful if the source was not Doppler tracked

correctly.

"felocity"  Similar to "velocity", except that the parameters are

given using the optical velocity definition.

Generally the default is "channel" if the data-set has spectral

channel data, and "wide" otherwise.

The four numbers that accompany the string give:

nchan, start, width, step

These four numbers specify which channels to select from the input

dataset and how to combine them to produce the output channels that

the Miriad task will work on.

nchan   is the number of output channels produced. Generally it

defaults to the number of input channels.

start   is the first channel from input dataset that is to be used.

It defaults to 1 (i.e. first channel).

width   gives the number of input channels to average together to

produce a single output channel. It defaults to 1.

step    gives the increment between selected input channels. It

defaults to the value of "width".

For "velocity" linetype, the start, width and step parameters are

given in km/s. The output channels are centered on velocities:

start, start+step, start+2*step, etc.

The `line' parameter interacts with the "select=window" selection

for "channel" and "velocity"/"felocity" linetypes. See the help on

select for more information.

For example:

line=channel,10

selects 10 output channels, being input spectral channels 1 to 10.

Similarly

line=channel,10,8,1,2

selects 10 output channels, starting at input channel 8, and skipping

every second input channel, whereas

line=channel,10,8,2,2

selects 10 output channels, again starting at input channel 8, but

each of the output channels consists of the average of two of the

input channels. Finally

line=velocity,10,-10,1,1

resamples the spectral data in velocity, to give 10 channels of width

1 km/s. The channels are centered at -10.0,-9.0,-8.0, etc, km/s.

Uvflag supports only types 'channel and wide'. If line is

unspecified, both the 'channel data' and the 'wideband data'

(if present) will be flagged. Also, since averaging of data

is an undefined operation when setting flags, width is

forced to be equal to 1.

%A edge

This keyword allows uvflag to work on the edges of spectral

windows. Three numbers may be given, n, m and c. Flags will

be changed only for the first n and last m channels of each

spectral window and for the central c channels.

If one value is given, the number of selected channels at

the start and end of the window is assumed to be equal.

If two values are given the first gives the number of

selected channels at the start, the second the number at

the end. In this case either one may also be 0.

The third value gives the number of channels to delete from

the center of the band. The default is 0.  The center of a

window is defined as 'startchannel+nchannels/2'.

A negative value is interpreted as meaning that the beginning,

ending, or middle 1/8th of the band must be deleted.

Use of the edge keyword forces the step parameter of the

line keyword to be equal to 1.

Edge cannot be combined with linetype 'wide'. If edge is

used, the linetype defaults to channel,0,1,1,1, i.e. all

channels.

This also works for multiple input visibility files, even

if these have different correlator modes.

[0,0,0]

%A tsys

Flag based on system teperature. Two values can be given:

a lower and an upper limit. If only one value is given then

the upper limit is assumed to be infinite.

Any system temperatures inside

this range are flagged. Note that tsys flagging is exclusive

of amplitude selection, but all other selection criteria will work.

Tsys cannot be combined with linetype 'wide'. If tsys is

used, the linetype defaults to channel,0,1,1,1, i.e. all

channels.

Default tsys is 100000,100000.

%A phase

Flag based on phase. One value is given; data with abs(phase)

outside of that value (in degrees) will be flagged.

%A flagval

Either 'flag' or 'unflag', which tells whether the flags for

the correlations selected by 'select', 'line' and 'edge'

have to be set or unset. May be abbreviated to 'f' or 'u'.

Exactly one of the options 'flag' or 'unflag' must be

present.

%A options

One or more of

'noapply',

'none', 'brief', 'indicative', 'full', 'noquery',

'hms', 'decimal'.

These options can be abbreviated to uniqueness. The default

is 'brief,hms', except when a logfile is given (see keyword

log), then it becomes 'indicative,hms'.

'noapply' will go through the whole process without

actually changing the flags. Useful for checking what will

happen or for inspecting the flags.

No history comments are written.

'none', 'brief', 'indicative' and 'full' control the

amount of information returned to the user.

- 'brief' gives an overview when UVFLAG finishes.

- 'indicative' lists the number of good, bad and changed

flags for each selected uv-record.

- 'full' lists the data, the old flag and the new flag for

each channel separately and also an overview of each record.

- If more than 1 verbosity level is given, the lowest is taken.

- Option 'noquery' will turn off the feature that printing

is halted every 22 lines.

For verbosity levels 'indicative' and 'full' the format

of the time that is written is determined by 'hms' (hours,

minutes and seconds) or 'decimal' (decimal parts of a day).

%A log

Name of a file where reported information is written.

If empty this implies the terminal screen, else the

named file. Giving a filename also sets option 'indicative'.

[terminal]